## ASAP_Na-A
				|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|
ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1		|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1			|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1			|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1			|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1	|	ASAP 2020 V4.04 (V4.04 H)	Unit 1	Serial #: 1169	Page 1
				|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|
				|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|
Sample:	B114 NaA			|	Sample:	B114 NaA				|	Sample:	B114 NaA			|	Sample:	B114 NaA			|	Sample:	B114 NaA			|	Sample:	B114 NaA			|	Sample:	B114 NaA			|	Sample:	B114 NaA			|	Sample:	B114 NaA			|	Sample:	B114 NaA			|	Sample:	B114 NaA					|	Sample:	B114 NaA			|	Sample:	B114 NaA			|	Sample:	B114 NaA			|	Sample:	B114 NaA			|	Sample:	B114 NaA			|	Sample:	B114 NaA			|	Sample:	B114 NaA					|	Sample:	B114 NaA			|	Sample:	B114 NaA			|	Sample:	B114 NaA			|	Sample:	B114 NaA			|	Sample:	B114 NaA			|	Sample:	B114 NaA			|	Sample:	B114 NaA					|	Sample:	B114 NaA			|	Sample:	B114 NaA			|	Sample:	B114 NaA
Operator:				|	Operator:					|	Operator:				|	Operator:				|	Operator:				|	Operator:				|	Operator:				|	Operator:				|	Operator:				|	Operator:				|	Operator:					|	Operator:				|	Operator:				|	Operator:				|	Operator:				|	Operator:				|	Operator:				|	Operator:					|	Operator:				|	Operator:				|	Operator:				|	Operator:				|	Operator:				|	Operator:				|	Operator:					|	Operator:				|	Operator:				|	Operator:
Submitter:				|	Submitter:					|	Submitter:				|	Submitter:				|	Submitter:				|	Submitter:				|	Submitter:				|	Submitter:				|	Submitter:				|	Submitter:				|	Submitter:					|	Submitter:				|	Submitter:				|	Submitter:				|	Submitter:				|	Submitter:				|	Submitter:				|	Submitter:					|	Submitter:				|	Submitter:				|	Submitter:				|	Submitter:				|	Submitter:				|	Submitter:				|	Submitter:					|	Submitter:				|	Submitter:				|	Submitter:
File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP				|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP					|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP					|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP					|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP			|	File:	C:\2020\DATA\001-846.SMP
				|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|
				|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|
Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2		|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2			|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2			|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2			|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2	|	Started:	2020-10-30 8:22:51	Analysis Adsorptive:	N2
Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C		|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C			|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C			|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C			|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C	|	Completed:	2020-10-30 23:38:29	Analysis Bath Temp.:	-195.874 °C
Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes		|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes			|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes			|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes			|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes	|	Report Time:	2022-05-09 23:02:56	Thermal Correction:	Yes
Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered		|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered			|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered			|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered			|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered	|	Sample Mass:	0.2367 g	Warm Free Space:	27.9396 cm³ Entered
Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s		|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s			|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s			|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s			|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s	|	Cold Free Space:	84.1526 cm³	Equilibration Interval:	30 s
Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP		|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP			|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP			|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP			|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP	|	Ambient Temperature:	25.00 °C	Low Pressure Dose:	0.300 cm³/g STP
Automatic Degas:	Yes			|	Automatic Degas:	Yes				|	Automatic Degas:	Yes			|	Automatic Degas:	Yes			|	Automatic Degas:	Yes			|	Automatic Degas:	Yes			|	Automatic Degas:	Yes			|	Automatic Degas:	Yes			|	Automatic Degas:	Yes			|	Automatic Degas:	Yes			|	Automatic Degas:	Yes					|	Automatic Degas:	Yes			|	Automatic Degas:	Yes			|	Automatic Degas:	Yes			|	Automatic Degas:	Yes			|	Automatic Degas:	Yes			|	Automatic Degas:	Yes			|	Automatic Degas:	Yes					|	Automatic Degas:	Yes			|	Automatic Degas:	Yes			|	Automatic Degas:	Yes			|	Automatic Degas:	Yes			|	Automatic Degas:	Yes			|	Automatic Degas:	Yes			|	Automatic Degas:	Yes					|	Automatic Degas:	Yes			|	Automatic Degas:	Yes			|	Automatic Degas:	Yes
				|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|
				|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|
				|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|
				|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|
				|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|
				|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|					|
Summary Report				|	Isotherm Tabular Report					|	Isotherm Linear Plot				|	Isotherm Log Plot				|	BET Surface Area Report				|	BET Surface Area Plot				|	BET Isotherm Plot				|	Langmuir Surface Area Report				|	Langmuir Surface Area Plot				|	t-Plot Reports				|	BJH Adsorption Pore Distribution Report					|	BJH Adsorption Cumulative Pore Volume (Larger)				|	BJH Adsorption dV/dD Pore Volume				|	BJH Adsorption dV/dlog(D) Pore Volume				|	BJH Adsorption Cumulative Pore Area (Larger)				|	BJH Adsorption dA/dD Pore Area				|	BJH Adsorption dA/dlog(D) Pore Area				|	BJH Desorption Pore Distribution Report					|	BJH Desorption Cumulative Pore Volume (Larger)				|	BJH Desorption dV/dD Pore Volume				|	BJH Desorption dV/dlog(D) Pore Volume				|	BJH Desorption Cumulative Pore Area (Larger)				|	BJH Desorption dA/dD Pore Area				|	BJH Desorption dA/dlog(D) Pore Area				|	Horvath-Kawazoe Report					|	Horvath-Kawazoe Cumulative Pore Volume Plot				|	Horvath-Kawazoe Differential Pore Volume Plot				|	Options Report
				|					|					|					|					|					|					|					|					|					|					|	Halsey : Faas Correction				|	Halsey : Faas Correction				|	Halsey : Faas Correction				|	Halsey : Faas Correction				|	Halsey : Faas Correction				|	Halsey : Faas Correction				|					|	Halsey : Faas Correction				|	Halsey : Faas Correction				|	Halsey : Faas Correction				|	Halsey : Faas Correction				|	Halsey : Faas Correction				|	Halsey : Faas Correction				|					|	Slit Pore Geometry (Original H-K)				|	Slit Pore Geometry (Original H-K)				|
				|	Relative Pressure (P/Po)	Absolute Pressure (mmHg)	Quantity Adsorbed (cm³/g STP)	Elapsed Time (h:min)	Saturation Pressure (mmHg)	|					|					|	BET Surface Area:	11.9785 ± 0.1908 m²/g			|					|					|	Langmuir Surface Area:	17.5490 ± 0.1778 m²/g			|					|	Primary Data				|	Faas Correction					|					|					|					|					|					|					|	Faas Correction					|					|					|					|					|					|					|	Slit Pore Geometry (Original H-K)					|					|					|
				|				00:32	753.204834	|	B114 NaA - Adsorption		B114 NaA - Desorption		|	B114 NaA - Adsorption		B114 NaA - Desorption		|	Slope:	0.365343 ± 0.005722 g/cm³ STP			|	B114 NaA				|	B114 NaA				|	Slope:	0.248059 ± 0.002513 g/cm³ STP			|	B114 NaA				|	4053- At least two data points must be selected for t-Plot calculations.				|	Halsey					|	B114 NaA				|	B114 NaA				|	B114 NaA				|	B114 NaA				|	B114 NaA				|	B114 NaA				|	Halsey					|	B114 NaA				|	B114 NaA				|	B114 NaA				|	B114 NaA				|	B114 NaA				|	B114 NaA				|					|	B114 NaA				|	B114 NaA				|
Surface Area				|	1.01391E-07	7.63763E-05	0.322702494	01:44		|	Relative Pressure (P/Po)	Quantity Adsorbed (cm³/g STP)	Relative Pressure (P/Po)	Quantity Adsorbed (cm³/g STP)	|	Relative Pressure (P/Po)	Quantity Adsorbed (cm³/g STP)	Relative Pressure (P/Po)	Quantity Adsorbed (cm³/g STP)	|	Y-Intercept:	-0.001926 ± 0.000867 g/cm³ STP			|	Relative Pressure (P/Po)	1/[Q(Po/P - 1)]			|	Relative Pressure (P/Po)	Quantity Adsorbed (cm³/g STP)			|	Y-Intercept:	3.810033 ± 0.308260 mmHg·g/cm³ STP			|	Pressure (mmHg)	P/Q (mmHg·g/cm³ STP)			|	4053- At least two data points must be selected for t-Plot calculations.				|	t = 3.54 [ -5 / ln(P/Po) ] ^ 0.333					|	Pore Diameter (nm)	Pore Volume (cm³/g)			|	Pore Diameter (nm)	Pore Volume (cm³/g·nm)			|	Pore Diameter (nm)	dV/dlog(D) Pore Volume (cm³/g)			|	Pore Diameter (nm)	Pore Area (m²/g)			|	Pore Diameter (nm)	Pore Area (m²/g·nm)			|	Pore Diameter (nm)	dA/dlog(D) Pore Area (m²/g)			|	t = 3.54 [ -5 / ln(P/Po) ] ^ 0.333					|	Pore Diameter (nm)	Pore Volume (cm³/g)			|	Pore Diameter (nm)	Pore Volume (cm³/g·nm)			|	Pore Diameter (nm)	dV/dlog(D) Pore Volume (cm³/g)			|	Pore Diameter (nm)	Pore Area (m²/g)			|	Pore Diameter (nm)	Pore Area (m²/g·nm)			|	Pore Diameter (nm)	dA/dlog(D) Pore Area (m²/g)			|					|	Pore Width (nm)	Pore Volume (cm³/g)			|	Pore Width (nm)	dV/dw (cm³/g·nm)			|	Sample Tube
				|	7.50443E-07	0.000565341	0.627383513	02:37		|	1.01391E-07	0.322702494	0.992046674	26.51264274	|	1.01391E-07	0.322702494	0.992046674	26.51264274	|	C:	-188.690634			|	0.009802284	0.003710754			|	1.01391E-07	0.322702494			|	b:	0.065107 1/mmHg			|	82.87489319	24.25280859			|	4053- At least two data points must be selected for t-Plot calculations.				|					|	74.56252045	0.013866521			|	88.30927405	8.14837E-05			|	88.30927405	0.026863691			|	74.56252045	0.628089016			|	88.30927405	0.003690832			|	88.30927405	1.216800461			|					|	32.20419016	0.007039651			|	38.15556698	0.000251095			|	38.15556698	0.025883715			|	32.20419016	0.737994641			|	38.15556698	0.026323335			|	38.15556698	2.713492908			|	Maximum Pore Volume:	0.003265 cm³/g					|	0.43098344	0.000499156			|	0.43098344	0.00115818			|
Single point surface area at P/Po = 0.280846928:	11.9614 m²/g			|	4.83014E-06	0.003638969	0.923992405	03:18		|	7.50443E-07	0.627383513	0.96687098	19.83267911	|	7.50443E-07	0.627383513	0.96687098	19.83267911	|	Qm:	2.7517 cm³/g STP			|	0.017263781	0.006188653			|	7.50443E-07	0.627383513			|	Qm:	4.0313 cm³/g STP			|	104.6855621	29.81576835			|					|					|	39.79512146	0.022005807			|	47.18931455	0.000234107			|	47.18931455	0.029848047			|	39.79512146	1.318015222			|	47.18931455	0.019844056			|	47.18931455	2.53006828			|					|	22.60049232	0.011174471			|	25.67254914	0.000430545			|	25.67254914	0.02688536			|	22.60049232	1.382234534			|	25.67254914	0.067082483			|	25.67254914	4.18896622			|	at Relative Pressure:	0.001323811					|	0.470966539	0.000970437			|	0.470966539	0.011786995			|	Warm free space:	1.0000 cm³
				|	2.01893E-05	0.015211308	1.197143527	03:59		|	4.83014E-06	0.923992405	0.936968876	15.95337265	|	4.83014E-06	0.923992405	0.936968876	15.95337265	|	Correlation Coefficient:	0.9980432			|	0.023113504	0.008096578			|	4.83014E-06	0.923992405			|	Correlation Coefficient:	0.999897			|	121.0714951	34.00384164			|					|	Diameter Range:	1.7000 nm to 300.0000 nm					|	27.08631532	0.026593071			|	30.98485163	0.000360952			|	30.98485163	0.027455506			|	27.08631532	1.910209545			|	30.98485163	0.046597164			|	30.98485163	3.544377912			|	Diameter Range:	1.7000 nm to 300.0000 nm					|	17.69423753	0.014362097			|	19.51398775	0.000649706			|	19.51398775	0.029991006			|	17.69423753	2.035637722			|	19.51398775	0.13317759			|	19.51398775	6.147591423			|	Median Pore Width:	0.5393 nm					|	0.516999552	0.001429231			|	0.516999552	0.009966644			|	Cold free space:	1.0000 cm³
BET Surface Area:	11.9785 m²/g			|	7.0128E-05	0.052840894	1.45264803	04:53		|	2.01893E-05	1.197143527	0.909224807	13.70996813	|	2.01893E-05	1.197143527	0.909224807	13.70996813	|	Molecular Cross-Sectional Area:	0.1620 nm²			|	0.028984402	0.009983413			|	2.01893E-05	1.197143527			|	Molecular Cross-Sectional Area:	0.1620 nm²			|	166.401474	45.00400632			|					|	Adsorbate Property Factor:	0.95300 nm					|	20.55623863	0.029393596			|	22.8806249	0.000428866			|	22.8806249	0.023375449			|	20.55623863	2.399798548			|	22.8806249	0.074974465			|	22.8806249	4.086505369			|	Adsorbate Property Factor:	0.95300 nm					|	14.60004585	0.016903465			|	15.82712361	0.000821335			|	15.82712361	0.030443711			|	14.60004585	2.677919669			|	15.82712361	0.207576651			|	15.82712361	7.694060321			|	Relative Pressure Range:	1.014e-07 to 1.324e-03					|	0.561251427	0.001851742			|	0.561251427	0.009547847			|	Non-ideality factor:	0.0000620
				|	0.000197179	0.148581311	1.667245866	05:32		|	7.0128E-05	1.45264803	0.883210486	12.02263282	|	7.0128E-05	1.45264803	0.883210486	12.02263282	|					|	0.034882179	0.011879282			|	7.0128E-05	1.45264803			|					|					|					|	Density Conversion Factor:	0.0015468					|	16.66589045	0.03121159			|	18.17446093	0.000467309			|	18.17446093	0.019952707			|	16.66589045	2.799919006			|	18.17446093	0.102849524			|	18.17446093	4.391372401			|	Density Conversion Factor:	0.0015468					|	12.42009386	0.018918137			|	13.31761712	0.000924182			|	13.31761712	0.028687035			|	12.42009386	3.283034402			|	13.31761712	0.277581679			|	13.31761712	8.616266623			|					|	0.608926781	0.002246956			|	0.608926781	0.0082897			|	Use Isothermal Jacket:	No
Langmuir Surface Area:	17.5490 m²/g			|	0.000444578	0.33501938	1.848124186	06:01		|	0.000197179	1.667245866	0.857712844	10.70225302	|	0.000197179	1.667245866	0.857712844	10.70225302	|					|	0.04047446	0.01363501			|	0.000197179	1.667245866			|					|					|	Fraction of Pores Open at Both Ends:	0.00					|	15.88279941	0.031623193			|	16.25369926	0.000525613			|	16.25369926	0.019692537			|	15.88279941	2.901213612			|	16.25369926	0.129352272			|	16.25369926	4.846290588			|	Fraction of Pores Open at Both Ends:	0.00					|	10.82069513	0.020462923			|	11.4985049	0.000965854			|	11.4985049	0.025802461			|	10.82069513	3.820421145			|	11.4985049	0.335992977			|	11.4985049	8.975935908			|	Diameter of Adsorptive Molecule:	0.3000 nm					|	0.657859657	0.002578896			|	0.657859657	0.006783577			|	Use Filler Rod:	No
				|	0.000824564	0.621376991	1.993420429	06:15		|	0.000444578	1.848124186	0.832098449	9.666721928	|	0.000444578	1.848124186	0.832098449	9.666721928	|	Relative Pressure (P/Po)	Quantity Adsorbed (cm³/g STP)	1/[Q(Po/P - 1)]		|	0.052210007	0.017388547			|	0.000444578	1.848124186			|	Pressure (mmHg)	Quantity Adsorbed (cm³/g STP)	P/Q (mmHg·g/cm³ STP)		|					|					|	13.42634363	0.032803169			|	14.42929717	0.000480357			|	14.42929717	0.016170859			|	13.42634363	3.228319261			|	14.42929717	0.133161627			|	14.42929717	4.48278496			|					|	9.58168758	0.021700774			|	10.1169863	0.000999067			|	10.1169863	0.023438308			|	9.58168758	4.309836058			|	10.1169863	0.395005595			|	10.1169863	9.266913046			|	Diameter of Adsorptive at Zero Interaction Energy:	0.2574 nm					|	0.704702222	0.002858678			|	0.704702222	0.005972828			|	Vacuum seal type:	None
BJH Adsorption cumulative surface area of pores				|	0.001323811	0.997617245	2.110762259	06:26		|	0.000824564	1.993420429	0.806784462	8.874583064	|	0.000824564	1.993420429	0.806784462	8.874583064	|	0.009802284	2.66773827	0.003710754		|	0.063716917	0.021058597			|	0.000824564	1.993420429			|	82.87489319	3.417125603	24.25280859		|					|					|	11.63424545	0.033763848			|	12.38823599	0.000536064			|	12.38823599	0.015440145			|	11.63424545	3.538509881			|	12.38823599	0.173087961			|	12.38823599	4.985421606			|					|	8.599407201	0.022723175			|	9.030573818	0.001040844			|	9.030573818	0.02176548			|	8.599407201	4.762697908			|	9.030573818	0.461031147			|	9.030573818	9.640795937			|	Diameter of Sample Atom:	0.3040 nm					|	0.746865975	0.003083423			|	0.746865975	0.005330271			|
between 1.7000 nm and 300.0000 nm diameter:	6.936 m²/g			|				06:29	753.5982666	|	0.001323811	2.110762259	0.781464443	8.239866593	|	0.001323811	2.110762259	0.781464443	8.239866593	|	0.017263781	2.838591035	0.006188653		|	0.075313003	0.024845535			|	0.001323811	2.110762259			|	104.6855621	3.511080476	29.81576835		|					|	Pore Diameter Range (nm)	Average Diameter (nm)	Incremental Pore Volume (cm³/g)	Cumulative Pore Volume (cm³/g)	Incremental Pore Area (m²/g)	Cumulative Pore Area (m²/g)	|	10.25496176	0.034515273			|	10.84714235	0.000544794			|	10.84714235	0.013711095			|	10.25496176	3.815606007			|	10.84714235	0.200898573			|	10.84714235	5.05611328			|	Pore Diameter Range (nm)	Average Diameter (nm)	Incremental Pore Volume (cm³/g)	Cumulative Pore Volume (cm³/g)	Incremental Pore Area (m²/g)	Cumulative Pore Area (m²/g)	|	7.786018337	0.023512056			|	8.146668831	0.00096987			|	8.146668831	0.018280995			|	7.786018337	5.150037305			|	8.146668831	0.47620445			|	8.146668831	8.975936095			|	Diameter of Sample Atom at Zero Interaction Energy:	0.2609 nm					|	0.78406663	0.003264927			|	0.78406663	0.004879063			|
				|	0.009802284	7.386800289	2.66773827	06:37		|	0.009802284	2.66773827	0.756354318	7.715917876	|	0.009802284	2.66773827	0.756354318	7.715917876	|	0.023113504	2.922268778	0.008096578		|	0.092567871	0.030287008			|	0.009802284	2.66773827			|	121.0714951	3.560524023	34.00384164		|					|	244.7 - 74.6	88.30927405	0.013866521	0.013866521	0.628089016	0.628089016	|	9.164452433	0.03511539			|	9.640290493	0.000550309			|	9.640290493	0.012290556			|	9.164452433	4.064609879			|	9.640290493	0.228337224			|	9.640290493	5.099662092			|	60.2 - 32.2	38.15556698	0.007039651	0.007039651	0.737994641	0.737994641	|	7.11433384	0.024236772			|	7.415344659	0.001078953			|	7.415344659	0.018496526			|	7.11433384	5.540964924			|	7.415344659	0.582010782			|	7.415344659	9.977433121			|	Interaction Parameter:	3.49e-43 erg·cm^4					|					|					|	Analysis Conditions
BJH Desorption cumulative surface area of pores				|	0.017263781	13.00938892	2.838591035	06:43		|	0.017263781	2.838591035	0.730965016	7.301723236	|	0.017263781	2.838591035	0.730965016	7.301723236	|	0.028984402	2.989916882	0.009983413		|	0.109995156	0.036167646			|	0.017263781	2.838591035			|	166.401474	3.697481349	45.00400632		|					|	74.6 - 39.8	47.18931455	0.008139286	0.022005807	0.689926206	1.318015222	|	8.282590761	0.035690289			|	8.672478678	0.000651915			|	8.672478678	0.013083636			|	8.282590761	4.329770122			|	8.672478678	0.300682354			|	8.672478678	6.03455452			|	32.2 - 22.6	25.67254914	0.00413482	0.011174471	0.644239893	1.382234534	|	6.546201958	0.02490193			|	6.802860359	0.001170781			|	6.802860359	0.018402579			|	6.546201958	5.932069988			|	6.802860359	0.688405415			|	6.802860359	10.82049482			|					|					|
between 1.7000 nm and 300.0000 nm diameter:	10.6395 m²/g			|	0.023113504	17.41721344	2.922268778	06:49		|	0.023113504	2.922268778	0.705864561	6.927121507	|	0.023113504	2.922268778	0.705864561	6.927121507	|	0.034882179	3.042517375	0.011879282		|	0.138945816	0.045959385			|	0.023113504	2.922268778			|					|					|	39.8 - 27.1	30.98485163	0.004587263	0.026593071	0.592194324	1.910209545	|	7.545820038	0.03616413			|	7.874553444	0.000643131			|	7.874553444	0.011711399			|	7.545820038	4.570464614			|	7.874553444	0.326688459			|	7.874553444	5.948984645			|	22.6 - 17.7	19.51398775	0.003187625	0.014362097	0.653403188	2.035637722	|	6.048526812	0.025467079			|	6.274371146	0.001135578			|	6.274371146	0.01645755			|	6.048526812	6.292360302			|	6.274371146	0.723946769			|	6.274371146	10.49191969			|	Density Conversion Factor:	0.0015468					|					|
				|	0.028984402	21.84082985	2.989916882	06:55		|	0.028984402	2.989916882	0.680895728	6.586940483	|	0.028984402	2.989916882	0.680895728	6.586940483	|	0.04047446	3.09363496	0.01363501		|	0.160696841	0.053774275			|	0.028984402	2.989916882			|					|					|	27.1 - 20.6	22.8806249	0.002800526	0.029393596	0.489589003	2.399798548	|	6.928709895	0.03655764			|	7.206559018	0.000637666			|	7.206559018	0.010619897			|	6.928709895	4.788882505			|	7.206559018	0.35393664			|	7.206559018	5.894572888			|	17.7 - 14.6	15.82712361	0.002541369	0.016903465	0.642281947	2.677919669	|	5.620858793	0.025971872			|	5.816221657	0.001180339			|	5.816221657	0.015850611			|	5.620858793	6.639522711			|	5.816221657	0.81175677			|	5.816221657	10.90096768			|					|					|
				|	0.034882179	26.28453445	3.042517375	07:01		|	0.034882179	3.042517375	0.655503428	6.292042653	|	0.034882179	3.042517375	0.655503428	6.292042653	|	0.052210007	3.167950096	0.017388547		|	0.190856538	0.06496083			|	0.034882179	3.042517375			|					|	20.6 - 16.7	18.17446093	0.001817993	0.03121159	0.400120458	2.799919006	|	6.39865028	0.036910187			|	6.638853863	0.000665107			|	6.638853863	0.010199816			|	6.39865028	5.001296564			|	6.638853863	0.400736168			|	6.638853863	6.145528225			|	14.6 - 12.4	13.31761712	0.002014672	0.018918137	0.605114733	3.283034402	|	5.243329924	0.026481156			|	5.41651559	0.001348992			|	5.41651559	0.016866206			|	5.243329924	7.015619375			|	5.41651559	0.996206367			|	5.41651559	12.45539212			|					|					|	Preparation
				|	0.04047446	30.4979744	3.09363496	07:06		|	0.04047446	3.09363496	0.630465196	6.028446961	|	0.04047446	3.09363496	0.630465196	6.028446961	|	0.063716917	3.231604089	0.021058597		|	0.220871058	0.07666965			|	0.04047446	3.09363496			|					|	16.7 - 15.9	16.25369926	0.000411603	0.031623193	0.101294606	2.901213612	|	5.937617605	0.037200598			|	6.147664752	0.000629914			|	6.147664752	0.008942288			|	5.937617605	5.190253576			|	6.147664752	0.409856009			|	6.147664752	5.818331733			|	12.4 - 10.8	11.4985049	0.001544786	0.020462923	0.537386743	3.820421145	|	4.907867286	0.026970375			|	5.062335444	0.001458341			|	5.062335444	0.01703742			|	4.907867286	7.402175251			|	5.062335444	1.152306792			|	5.062335444	13.46210303			|	Absolute Pressure (mmHg)	Relative Pressure (P/Po)	Quantity Adsorbed (cm³/g STP)	Pore Width (nm)	Cumulative Pore Volume (cm³/g)	Differential Pore Volume (cm³/g·nm)	|					|
Pore Volume				|	0.052210007	39.34011078	3.167950096	07:12		|	0.052210007	3.167950096	0.605386075	5.770455533	|	0.052210007	3.167950096	0.605386075	5.770455533	|	0.075313003	3.278135159	0.024845535		|	0.250839486	0.089173372			|	0.052210007	3.167950096			|					|	15.9 - 13.4	14.42929717	0.001179976	0.032803169	0.327105649	3.228319261	|	5.533655214	0.037480937			|	5.718589749	0.000693974			|	5.718589749	0.009161379			|	5.533655214	5.386343449			|	5.718589749	0.485416162			|	5.718589749	6.408138849			|	10.8 - 9.6	10.1169863	0.001237851	0.021700774	0.489414914	4.309836058	|	4.607414251	0.027383086			|	4.746206679	0.001373632			|	4.746206679	0.015042961			|	4.607414251	7.74999988			|	4.746206679	1.157667218			|	4.746206679	12.67788107			|	7.63763E-05	1.01391E-07	0.322702494	0.43098344	0.000499156	0.00115818	|					|	Fast evacuation:	Yes
				|	0.063716917	48.00964355	3.231604089	07:18		|	0.063716917	3.231604089	0.580328156	5.525852381	|	0.063716917	3.231604089	0.580328156	5.525852381	|	0.092567871	3.368137041	0.030287008		|	0.280846928	0.102210875			|	0.063716917	3.231604089			|					|	13.4 - 11.6	12.38823599	0.000960679	0.033763848	0.31019062	3.538509881	|	5.177975108	0.037696139			|	5.341542178	0.000605044			|	5.341542178	0.00745879			|	5.177975108	5.547496936			|	5.341542178	0.453085468			|	5.341542178	5.585495576			|	9.6 - 8.6	9.030573818	0.001022401	0.022723175	0.45286185	4.762697908	|	4.336650527	0.027748719			|	4.46208135	0.001350376			|	4.46208135	0.013900893			|	4.336650527	8.077768808			|	4.46208135	1.210534865			|	4.46208135	12.46135327			|	0.000565341	7.50443E-07	0.627383513	0.470966539	0.000970437	0.011786995	|					|	Vacuum setpoint:	10 µmHg
Single point adsorption total pore volume of pores				|	0.075313003	56.74604416	3.278135159	07:24		|	0.075313003	3.278135159	0.555299263	5.312236615	|	0.075313003	3.278135159	0.555299263	5.312236615	|	0.109995156	3.417125603	0.036167646		|	0.321035649	0.121099123			|	0.075313003	3.278135159			|					|	11.6 - 10.3	10.84714235	0.000751425	0.034515273	0.277096126	3.815606007	|	4.857915041	0.037863242			|	5.005506381	0.000522099			|	5.005506381	0.006030412			|	4.857915041	5.681032255			|	5.005506381	0.417219555			|	5.005506381	4.81902242			|	8.6 - 7.8	8.146668831	0.000788881	0.023512056	0.387339397	5.150037305	|	4.089522775	0.028157381			|	4.204224203	0.001653646			|	4.204224203	0.016037404			|	4.089522775	8.466579495			|	4.204224203	1.573318593			|	4.204224203	15.25837158			|	0.003638969	4.83014E-06	0.923992405	0.516999552	0.001429231	0.009966644	|					|	Evacuation time:	0.30 h
less than 74.5625 nm diameter at P/Po = 0.973339816:	0.028379 cm³/g			|	0.092567871	69.74575806	3.368137041	07:30		|	0.092567871	3.368137041	0.530332468	5.118841766	|	0.092567871	3.368137041	0.530332468	5.118841766	|	0.138945816	3.511080476	0.045959385		|					|	0.092567871	3.368137041			|					|	10.3 - 9.2	9.640290493	0.000600117	0.03511539	0.249003872	4.064609879	|	4.570915001	0.037973534			|	4.703680578	0.000384291			|	4.703680578	0.004170319			|	4.570915001	5.774823894			|	4.703680578	0.326800088			|	4.703680578	3.546430768			|	7.8 - 7.1	7.415344659	0.000724716	0.024236772	0.390927619	5.540964924	|	3.865870221	0.029204784			|	3.969953047	0.004683171			|	3.969953047	0.042881786			|	3.865870221	9.521909955			|	3.969953047	4.718615748			|	3.969953047	43.20634101			|	0.015211308	2.01893E-05	1.197143527	0.561251427	0.001851742	0.009547847	|					|	Leak test:	No
				|	0.109995156	82.87489319	3.417125603	07:36		|	0.109995156	3.417125603	0.50527554	4.916292925	|	0.109995156	3.417125603	0.50527554	4.916292925	|	0.160696841	3.560524023	0.053774275		|					|	0.109995156	3.417125603			|					|	9.2 - 8.3	8.672478678	0.000574899	0.035690289	0.265160243	4.329770122	|	4.31133727	0.038104614			|	4.431727709	0.000504977			|	4.431727709	0.005162461			|	4.31133727	5.893135136			|	4.431727709	0.455783484			|	4.431727709	4.659547001			|	7.1 - 6.5	6.802860359	0.000665158	0.02490193	0.391105064	5.932069988	|	3.653994403	0.030059232			|	3.752528093	0.004032776			|	3.752528093	0.034904775			|	3.653994403	10.4327068			|	3.752528093	4.29872955			|	3.752528093	37.2066763			|	0.052840894	7.0128E-05	1.45264803	0.608926781	0.002246956	0.0082897	|					|	Use TranSeal:	No
Single point desorption total pore volume of pores				|	0.138945816	104.6855621	3.511080476	07:42		|	0.138945816	3.511080476	0.480500915	4.526967308	|	0.138945816	3.511080476	0.480500915	4.526967308	|	0.190856538	3.63103091	0.06496083		|					|	0.138945816	3.511080476			|					|	8.3 - 7.5	7.874553444	0.00047384	0.03616413	0.240694492	4.570464614	|	2.032303516	0.038706223			|	2.307633992	0.000263975			|	2.307633992	0.001841903			|	2.032303516	6.935949901			|	2.307633992	0.457568811			|	2.307633992	3.192712675			|	6.5 - 6.0	6.274371146	0.000565149	0.025467079	0.360290314	6.292360302	|	3.459585678	0.030242727			|	3.550152198	0.000943864			|	3.550152198	0.007728141			|	3.459585678	10.63945325			|	3.550152198	1.06346284			|	3.550152198	8.707391651			|	0.148581311	0.000197179	1.667245866	0.657859657	0.002578896	0.006783577	|					|
less than 60.3165 nm diameter at P/Po = 0.966870980:	0.030677 cm³/g			|	0.160696841	121.0714951	3.560524023	07:47		|	0.160696841	3.560524023	0.454987538	4.196298544	|	0.160696841	3.560524023	0.454987538	4.196298544	|	0.220871058	3.697481349	0.07666965		|					|	0.160696841	3.560524023			|					|	7.5 - 6.9	7.206559018	0.00039351	0.03655764	0.21841789	4.788882505	|					|					|					|					|					|					|	6.0 - 5.6	5.816221657	0.000504793	0.025971872	0.347162409	6.639522711	|					|					|					|					|					|					|	0.33501938	0.000444578	1.848124186	0.704702222	0.002858678	0.005972828	|					|
				|	0.190856538	143.7915955	3.63103091	07:53		|	0.190856538	3.63103091	0.429656188	4.059964356	|	0.190856538	3.63103091	0.429656188	4.059964356	|	0.250839486	3.754791559	0.089173372		|					|	0.190856538	3.63103091			|					|	6.9 - 6.4	6.638853863	0.000352546	0.036910187	0.212414059	5.001296564	|					|	5.6 - 5.2	5.41651559	0.000509283	0.026481156	0.376096664	7.015619375	|					|	0.621376991	0.000824564	1.993420429	0.746865975	0.003083423	0.005330271	|					|	Free Space
BJH Adsorption cumulative volume of pores				|	0.220871058	166.401474	3.697481349	07:59		|	0.220871058	3.697481349	0.404524337	3.986226451	|	0.220871058	3.697481349	0.404524337	3.986226451	|	0.280846928	3.820772958	0.102210875		|					|	0.220871058	3.697481349			|					|	6.4 - 5.9	6.147664752	0.000290411	0.037200598	0.188957012	5.190253576	|					|	5.2 - 4.9	5.062335444	0.000489219	0.026970375	0.386555876	7.402175251	|					|	0.997617245	0.001323811	2.110762259	0.78406663	0.003264927	0.004879063	|					|
between 1.7000 nm and 300.0000 nm diameter:	0.038706 cm³/g			|	0.250839486	188.9757843	3.754791559	08:05		|	0.250839486	3.754791559	0.379526178	3.923884326	|	0.250839486	3.754791559	0.379526178	3.923884326	|	0.321035649	3.904498753	0.121099123		|					|	0.250839486	3.754791559			|					|	5.9 - 5.5	5.718589749	0.000280339	0.037480937	0.196089873	5.386343449	|					|	4.9 - 4.6	4.746206679	0.000412712	0.027383086	0.347824629	7.74999988	|					|					|					|	Free-space type:	Entered
				|	0.280846928	211.5786438	3.820772958	08:11		|	0.280846928	3.820772958	0.354460874	3.868791561	|	0.280846928	3.820772958	0.354460874	3.868791561	|					|					|	0.280846928	3.820772958			|					|	5.5 - 5.2	5.341542178	0.000215202	0.037696139	0.161153487	5.547496936	|					|	4.6 - 4.3	4.46208135	0.000365633	0.027748719	0.327768929	8.077768808	|					|					|					|	Warm free space:	29.0000 cm³
BJH Desorption cumulative volume of pores				|	0.321035649	241.8506775	3.904498753	08:17		|	0.321035649	3.904498753	0.329586805	3.808293238	|	0.321035649	3.904498753	0.329586805	3.808293238	|					|					|	0.321035649	3.904498753			|					|	5.2 - 4.9	5.005506381	0.000167103	0.037863242	0.133535319	5.681032255	|					|	4.3 - 4.1	4.204224203	0.000408662	0.028157381	0.388810687	8.466579495	|					|	Cold free space:	89.0000 cm³
between 1.7000 nm and 300.0000 nm diameter:	0.030243 cm³/g			|	0.345672879	260.4061584	3.952436326	08:23		|	0.345672879	3.952436326	0.304569179	3.758995224	|	0.345672879	3.952436326	0.304569179	3.758995224	|					|	0.345672879	3.952436326			|					|	4.9 - 4.6	4.703680578	0.000110291	0.037973534	0.093791638	5.774823894	|					|	4.1 - 3.9	3.969953047	0.001047403	0.029204784	1.05533046	9.521909955	|					|
				|	0.370554783	279.1452637	4.006136839	08:29		|	0.370554783	4.006136839	0.279504885	3.704464507	|	0.370554783	4.006136839	0.279504885	3.704464507	|					|	0.370554783	4.006136839			|					|	4.6 - 4.3	4.431727709	0.000131081	0.038104614	0.118311243	5.893135136	|					|	3.9 - 3.7	3.752528093	0.000854448	0.030059232	0.910796842	10.4327068	|					|
				|				08:31	753.312439	|	0.395655334	4.046980048	0.254473429	3.654778989	|	0.395655334	4.046980048	0.254473429	3.654778989	|					|	0.395655334	4.046980048			|					|	4.3 - 2.0	2.307633992	0.000601609	0.038706223	1.042814765	6.935949901	|					|	3.7 - 3.5	3.550152198	0.000183495	0.030242727	0.206746455	10.63945325	|					|	Po and Temperature
				|	0.395655334	298.0518188	4.046980048	08:37		|	0.420339113	4.102158109	0.229470787	3.605046325	|	0.420339113	4.102158109	0.229470787	3.605046325	|					|	0.420339113	4.102158109			|					|					|					|					|					|
Pore Size				|	0.420339113	316.6461182	4.102158109	08:43		|	0.445311756	4.172179878	0.204504314	3.547627942	|	0.445311756	4.172179878	0.204504314	3.547627942	|					|	0.445311756	4.172179878			|					|					|					|					|					|	Po and T type:	Measure Po at intervals during analysis. Calculate the Analysis Bath Temperature from these values.
				|	0.445311756	335.4580383	4.172179878	08:48		|	0.470351268	4.22798084	0.179540528	3.476917193	|	0.470351268	4.22798084	0.179540528	3.476917193	|					|	0.470351268	4.22798084			|					|	Measurement interval:	120 min
Adsorption average pore width (4V/A by BET):	9.47669 nm			|	0.470351268	354.3202515	4.22798084	08:54		|	0.495324427	4.290076151	0.128650098	3.338963605	|	0.495324427	4.290076151	0.128650098	3.338963605	|					|	0.495324427	4.290076151			|					|	Ambient temperature:	25.00 °C
				|	0.495324427	373.1324463	4.290076151	09:00		|	0.520279279	4.382826048			|	0.520279279	4.382826048			|					|	0.520279279	4.382826048			|					|
Desorption average pore width (4V/A by BET):	10.24406 nm			|	0.520279279	391.9308167	4.382826048	09:06		|	0.545168669	4.480508763			|	0.545168669	4.480508763			|					|	0.545168669	4.480508763			|					|
				|	0.545168669	410.6798401	4.480508763	09:12		|	0.570107081	4.575347865			|	0.570107081	4.575347865			|					|	0.570107081	4.575347865			|					|	Dosing
BJH Adsorption average pore diameter (4V/A):	22.3221 nm			|	0.570107081	429.4657593	4.575347865	09:18		|	0.595128019	4.69219374			|	0.595128019	4.69219374			|					|	0.595128019	4.69219374			|					|
				|	0.595128019	448.3138123	4.69219374	09:24		|	0.619958192	4.828765561			|	0.619958192	4.828765561			|					|	0.619958192	4.828765561			|					|	Use first pressure fixed dose:	No
BJH Desorption average pore diameter (4V/A):	11.3700 nm			|	0.619958192	467.0181274	4.828765561	09:30		|	0.644928944	4.99293704			|	0.644928944	4.99293704			|					|	0.644928944	4.99293704			|					|	Use maximum volume increment:	No
				|	0.644928944	485.8283081	4.99293704	09:36		|	0.669911227	5.166920741			|	0.669911227	5.166920741			|					|	0.669911227	5.166920741			|					|	Target tolerance:	5.0% or 5.000 mmHg
				|	0.669911227	504.6472168	5.166920741	09:41		|	0.694818299	5.370179178			|	0.694818299	5.370179178			|					|	0.694818299	5.370179178			|					|	Low pressure dosing:	Yes
				|	0.694818299	523.4093628	5.370179178	09:47		|	0.719657356	5.596898563			|	0.719657356	5.596898563			|					|	0.719657356	5.596898563			|					|	Dose amount:	0.3000 cm³/g STP
Horvath-Kawazoe				|	0.719657356	542.1202393	5.596898563	09:53		|	0.74467568	5.865019008			|	0.74467568	5.865019008			|					|	0.74467568	5.865019008			|					|	Minimum equilibration delay:	0.00 h
				|	0.74467568	560.9661255	5.865019008	09:59		|	0.769498135	6.184592868			|	0.769498135	6.184592868			|					|	0.769498135	6.184592868			|					|	Maximum equilibration delay:	0.50 h
Maximum pore volume at P/Po = 0.001323811:	0.003265 cm³/g			|	0.769498135	579.6644287	6.184592868	10:05		|	0.79441219	6.529681721			|	0.79441219	6.529681721			|					|	0.79441219	6.529681721			|					|
				|	0.79441219	598.4317017	6.529681721	10:11		|	0.819310004	6.956888812			|	0.819310004	6.956888812			|					|	0.819310004	6.956888812			|					|
Median pore width:	0.5393 nm			|	0.819310004	617.1867065	6.956888812	10:17		|	0.844043465	7.498270468			|	0.844043465	7.498270468			|					|	0.844043465	7.498270468			|					|	Equilibration
				|	0.844043465	635.8178711	7.498270468	10:23		|	0.868846489	8.170191908			|	0.868846489	8.170191908			|					|	0.868846489	8.170191908			|					|
				|	0.868846489	654.5014038	8.170191908	10:29		|	0.875203941	8.400589479			|	0.875203941	8.400589479			|					|	0.875203941	8.400589479			|					|	Equilibration time (P/Po = 1.000000000):	30 s
				|	0.875203941	659.289978	8.400589479	10:34		|	0.899527156	9.426665363			|	0.899527156	9.426665363			|					|	0.899527156	9.426665363			|					|	Minimum equilibration delay at P/Po >= 0.995:	600 s
				|				10:36	753.2984619	|	0.92445164	11.0107932			|	0.92445164	11.0107932			|					|	0.92445164	11.0107932			|					|
				|	0.899527156	677.598938	9.426665363	10:42		|	0.949201182	13.62781535			|	0.949201182	13.62781535			|					|	0.949201182	13.62781535			|					|
				|	0.92445164	696.3579712	11.0107932	10:49		|	0.973339816	18.34703035			|	0.973339816	18.34703035			|					|	0.973339816	18.34703035			|					|	Sample Backfill
				|	0.949201182	714.9796143	13.62781535	10:58		|	0.992046674	26.51264274			|	0.992046674	26.51264274			|					|	0.992046674	26.51264274			|					|
				|	0.973339816	733.1351318	18.34703035	11:09		|					|					|					|					|					|	Backfill at start of analysis:	No
				|	0.992046674	747.1907349	26.51264274	11:23		|					|	Backfill at end of analysis:	Yes
				|	0.96687098	728.1998901	19.83267911	11:35		|					|	Backfill gas:	N2
				|	0.936968876	705.65802	15.95337265	11:44		|					|
				|	0.909224807	684.7449951	13.70996813	11:52		|					|
				|	0.883210486	665.1379395	12.02263282	11:59		|					|	Adsorptive Properties
				|	0.857712844	645.9230347	10.70225302	12:05		|					|
				|	0.832098449	626.6209717	9.666721928	12:11		|					|	Adsorptive:	Nitrogen
				|	0.806784462	607.5458984	8.874583064	12:17		|					|	Maximum manifold pressure:	925.00 mmHg
				|	0.781464443	588.467041	8.239866593	12:23		|					|	Non-ideality factor:	0.0000620
				|	0.756354318	569.5469971	7.715917876	12:29		|					|	Density conversion factor:	0.0015468
				|	0.730965016	550.4193115	7.301723236	12:34		|					|	Therm. tran. hard-sphere diameter:	0.386 nm
				|	0.705864561	531.5079956	6.927121507	12:40		|					|	Molecular cross-sectional area:	0.162 nm²
				|				12:42	752.9836426	|					|
				|	0.680895728	512.7005005	6.586940483	12:48		|					|
				|	0.655503428	493.5778809	6.292042653	12:54		|					|	Inside diameter of sample tube:	9.53 mm
				|	0.630465196	474.7220764	6.028446961	13:00		|					|
				|	0.605386075	455.8356934	5.770455533	13:06		|					|
				|	0.580328156	436.9654846	5.525852381	13:12		|
				|	0.555299263	418.1173401	5.312236615	13:18		|